|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sl No** | **Description of works** | **Quantity** | **Unit** | **Rate in** | **Amount** |
| 1 | Replacement of Carbon media and sand media  | LS | 1 Job |  |  |
| 2 | Provision of iron ladder in place of old damaged to Aeration tank  |  |  |
| 3 | Replacement of Frontal pipeline required for PSF ACF tanks as per existing dia & gauge  |  |  |
| 4 | Repairs to Sludge transfer pumps including all accessories if required to change. |  |  |
| 5 | Provision of CBD FBD for air grid |  |  |
| 6 | General Servicing to Blowers  |  |  |
| **7** | Design to tube settler media as per directions |  |  |
| 8 | Replacement of Mbbr media approximate Quantity is – 6m3 |  |  |
| 9 | M& L syntenic enamel paint over a coat of red oxide primer to all the equipment in STP Painting works to be required for all equipment’s |  |  |
|  | Total |  |  |  |  |

Signature of Contractor